## Slide 1: An entropy-based approach to interpreting ultrasound signals
M.S. Hughes, J.E. McCarthy, J.N. Marsh, S.A. Wickline
St. Louis Machine Learning and Data Science Meet-up
December 16, 2015

## Slide 3
$26,000
$6,500

## Slide 4
$3,500,000
Notes: GE Optima MR450W – this is super high end.

## Slide 9
Notes: Say the waveform was sampled much more finely than the interval t_f-t_i, i.e., it was highly oversampled relative to the width of the time window shown here

## Slide 15: Calculation of Entropy

## Slide 16: Calculation of Entropy

## Slide 17: Calculation of Entropy

## Slide 18: Calculation of Shannon Entropy

## Slide 19: Continuous Version of Shannon Entropy

## Slide 20: Geometric Interpretation of Entropy and Energy

## Slide 21: Geometric Interpretation of Entropy and Energy

## Slide 22: Geometric Interpretation of Entropy and Energy

## Slide 23: Geometric Interpretation of Entropy and Energy
Notes: Say: “or a Log length, if we’re talking about Log Energy”

## Slide 24: Signal Receiver Sensitivity

## Slide 25: Signal Receiver Sensitivity
-

## Slide 26: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 27: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 28: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 29: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 30: Analysis

## Slide 31: Analysis

## Slide 32: Analysis

## Slide 33: Analysis

## Slide 34: Analysis

## Slide 35: Analysis

## Slide 36: Analysis

## Slide 37: Analysis

## Slide 38: Analysis

## Slide 39: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used
Notes: Be sure to explain peak-to-peak

## Slide 40: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 41: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 42: The Different Entropies

## Slide 43: Entropy Calculations: Transition to Renyi Entropy

## Slide 44: Density Function Singularities

## Slide 45: Density Function Singularities

## Slide 46: Density Function Singularities

## Slide 47: Density Function Singularities

## Slide 48: Entropy Calculations: Transition to Renyi Entropy

## Slide 49: Asymptotic Form as

## Slide 50: Asymptotic Form as

## Slide 51: Asymptotic Form as

## Slide 52: Asymptotic Form as r  2

## Slide 53: Asymptotic Form as r  2

## Slide 54: Non-destructive Evaluation of Graphite-Epoxy Composites
Materials Characterization: Entropy detects Flaws that are invisible to conventional techniques
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 55: The Different Entropies

## Slide 56: Joint Entropy

## Slide 57: Joint Entropy

## Slide 58: Joint Entropy

## Slide 59: Joint Entropy

## Slide 60: Different pictures

## Slide 61: Therapy Monitoring
Medical Diagnosis: Entropy is more sensitive to therapeutic effects than conventional techniques
Effect of Steroid Treatment in MDx Mice
Note:
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 62: Therapy Monitoring
Medical Diagnosis: Entropy is more sensitive to therapeutic effects than conventional techniques
Effect of Steroid Treatment in MDx Mice
Note:
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 63: Tissue Characterization
Medical Diagnosis: Entropy is more sensitive to therapeutic effects than conventional techniques
Diagnosis of DMD in Humans
Note:
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 64: Tissue Characterization
Medical Diagnosis: Entropy is more sensitive to therapeutic effects than conventional techniques
Diagnosis of DMD in Humans
Note:
All Processing is done independently on RF Segments
No Gates or Spatial Information is used

## Slide 65: All Detection is Based on Waves
Developed a suite of algorithms that work in the Medical domain
The systems are characterized by high signal loss
  Attenuating materials
  Non planar interfaces scatter waves away from the sensor
  Must compensate for motion during acquisition
Medical Scanners:
Ultrasound, PET, SPECT
We have developed fully automatic algorithms that meet these challenges
  Robust in the presence of noise
  Fast enough to operate on multi GigaByte data sets
  Automatically segment data sets into segments of different relative importance
  Produce quantitative performance metrics to aid medical treatment process
  Superior to conventional techniques
These are general enough to be applicable in other problem domains

## Slide 66: All Detection is Based on Waves
Developed a suite of algorithms that work in the Medical domain
The systems are characterized by high signal loss
  Attenuating materials
  Non planar interfaces scatter waves away from the sensor
  Must compensate for motion during acquisition
Medical Scanners:
Ultrasound, PET, SPECT
We have developed fully automatic algorithms that meet these challenges
  Robust in the presence of noise
  Fast enough to operate on multi GigaByte data sets
  Automatically segment data sets into segments of different relative importance
  Produce quantitative performance metrics to aid medical treatment process
  Superior to conventional techniques
These are general enough to be applicable in other problem domains
Notes: Mention that we are talking about backscatter measurements in all of the applications and examples

## Slide 67: All Detection is Based on Waves
Developed a suite of algorithms that work in the Medical domain
The systems are characterized by high signal loss
  Attenuating materials
  Non planar interfaces scatter waves away from the sensor
  Must compensate for motion during acquisition
Medical Scanners:
Ultrasound, PET, SPECT
We have developed fully automatic algorithms that meet these challenges
  Robust in the presence of noise
  Fast enough to operate on multi GigaByte data sets
  Automatically segment data into subsets of different relative importance
  Produce quantitative performance metrics to aid medical treatment process
  Typically more sensitive than energy-based techniques
These are general enough to be applicable in other problem domains

## Slide 68: All Detection is Based on Waves
Developed a suite of algorithms that work in the Medical domain
The systems are characterized by high signal loss
  Attenuating materials
  Non planar interfaces scatter waves away from the sensor
  Must compensate for motion during acquisition
We have developed fully automatic algorithms that meet these challenges
  Robust in the presence of noise
  Fast enough to operate on multi GigaByte data sets
  Automatically segment data into subsets of different relative importance
  Produce quantitative performance metrics to aid medical treatment process
  Typically more sensitive than energy-based techniques. i.e., noise-normalized or confidence values are greater if entropy analysis is used
These are general enough to be applicable in other problem domains
Noise-Normalized
Energy
A
Noise- Normalized
Entropy
A

## Slide 69: All Detection is Based on Waves
Developed a suite of algorithms that work in the Medical domain
The systems are characterized by high signal loss
  Attenuating materials
  Non planar interfaces scatter waves away from the sensor
  Must compensate for motion during acquisition
Medical Scanners:
Ultrasound, PET, SPECT
We have developed fully automatic algorithms that meet these challenges
  Robust in the presence of noise
  Fast enough to operate on multi GigaByte data sets
  Automatically segment data into subsets of different relative importance
  Produce quantitative performance metrics to aid medical treatment process
  Typically more sensitive than energy-based techniques
These are general enough to be applicable in other problem domains

## Slide 70: All Detection is Based on Waves
Optical Systems:
Cameras, microscopes,
telescopes
Radar Systems:
Air flight control,
Remote sensing
Security Systems and NDT:
Airport scanners
Medical Scanners:
Ultrasound, PET, SPECT

## Slide 71: Microwave Threat Detection
Security Scanning and Threat Detection: Entropy detects hidden security threats that are invisible to conventional scans

## Slide 72: Microwave Threat Detection
Security Scanning and Threat Detection: Entropy detects hidden security threats that are invisible to conventional scans

## Slide 73: Microwave Threat Detection
Security Scanning and Threat Detection: Entropy detects hidden security threats that are invisible to conventional scans

## Slide 74: Microwave Threat Detection
Security Scanning and Threat Detection: Entropy detects hidden security threats that are invisible to conventional scans

## Slide 75: Microwave Threat Detection
Security Scanning and Threat Detection: Entropy detects hidden security threats that are invisible to conventional scans

## Slide 76: Acoustic Firearm Classification

## Slide 82: Summary
Entropy imaging can detect objects that are not visible in energy-based images
  NDT
  Medical
  Threat detection, Security systems

## Slide 83: Future Work
Joint Entropy with multiple references
Optimum reference
Applications to other data sources and types of problems

## Slide 84: References
Entropy vs. Energy Waveform Processing: A Comparison Based on the Heat Equation, M.S. Hughes, J.E. McCarthy, P. Bruillard, J.N. Marsh, S.A. Wickline, Entropy, 17 [2015] 3518-3551
2. Joint-Entropy of Continuously Diﬀerentiable Ultrasonic Waveforms, M.S. Hughes, J.E. McCarthy, J.N. Marsh, S.A. Wickline, J. Acoustical Society of America, 133 (1) [2013] 283-300
3. Improved Signal Processing to Detect Cancer by Ultrasonic Molecular Imaging of Targeted Nanoparticles, M.S. Hughes, J. Marsh, J.E. McCarthy, M.V. Wickerhauser, B. Maurizi, K. Wallace, G. Lanza, S.A. Wickline, J. Acoustical Society of America, 129(6)[2011] 3756-3767
4. Real-time calculation of a limiting form of the Renyi entropy applied to detection of subtle
changes in scattering architecture, M.S. Hughes, J.E. McCarthy, M. V. Wickerhauser, J.N.
Marsh, J.M. Arbeit, R.W. Fuhrhop, K.D. Wallace, T. Thomas, J. Smith, K. Agyem, G.M.
Lanza, S.A. Wickline, J. Acoustical Society of America, Vol. 126, [2009] 2350-2358
5. Properties of an Entropy-based Signal Receiver with an Application to Ultrasonic Molecular
Imaging, M. S. Hughes, J. E. McCarthy, J. N. Marsh, J. M. Arbeit, R. G. Neumann, R. W.
Fuhrhop, K. D. Wallace, D. R. Znidersic, B. N. Maurizi, S. L. Baldwin, G. M. Lanza, S.
A. Wickline, J. Acoustical Society of America, 121 [2007] 3542-3557

## Slide 86: Automated Signal Detection

## Slide 87
Established Application of Information Theory

## Slide 88
Intrinsic Information…